Diesel Fuel Spill

Health and Safety Considerations

Toxicity

Diesel fuel is a mixture of volatile hydrocarbons, derived from crude oil by a distillation process. Diesel fuel is commonly used in trucks and buses, heavy machinery, boats, and to some degree, in passenger cars. Jet fuels and heating oil closely resemble diesel fuel. While exposure to low concentrations (several parts per million) of diesel vapors is not a hazard to most people, inhalation of high concentration of diesel vapors may cause dizziness, nausea, headache, vomiting and eye irritation. Prolonged skin exposure may cause dermatitis, especially to sensitive individuals. Aspiration (intake of diesel fuel liquid into the lungs) is difficult to treat and may cause severe pneumonitis and pulmonary edema.

Recommendations

Response Personnel

- The current occupational exposure standard for diesel is a Threshold Limit Value (TLV) of 100 mg/m3 as total hydrocarbon. There is no public health exposure limit.

- Conduct air sampling to ascertain diesel vapor concentrations, and provide respiratory equipment if needed.

- Provide protective clothing, gloves, and eye protection to all response personnel coming in contact with diesel.

- Educate workers on the risks they face and appropriate use of personal protective equipment (PPE)

- Monitor the working environment to make sure that safe work practices are being carried out. Hazards such as hypothermia, work near/on water, and other safety related problems may be more of a threat than chemical exposure.

General Public

•	Monitor possible exposure to the general public

•	Provide a timely public advisory, and, if needed, advise of necessary steps to take

•	Provide a contact point for concerned citizens to call

Flammability

Diesel fuel is a combustible liquid, with a flash point between 110 and 190 ˚F (USCG). If ignited, a diesel fuel layer thicker than 3 mm on the water may burn. In addition, spilled fuel accumulated on the beach may burn as well, if ignited. Fire potential is especially serious in confined spaces, if the temperature reaches the flash point of the diesel fuel.

Recommendations:

•	Measures should be taken to prevent accidental ignition of the spilled fuel

•	Entry into confined spaces should always follow OSHA and USCG safety requirements, which include air sampling, ventilation, protective equipment, and standby rescue.

Odor Vs. Threat

The odor threshold of Diesel fuel is 0.1 to 1 part per million (ppm). While an average person would detect diesel fuel vapors at this concentration, some people could actually smell it at much lower levels. At air concentration of 1 ppm diesel fuel vapors are rarely a hazard to the average person. However, sensitive individuals may be affected by the vapors even at these low levels, while others may perceive the odor as offensive and assume that they are overexposed.

Recommendations: Provide timely information to both the general public and to health and emergency authorities. Past experience has shown that the sooner the public and local authorities are informed of what has spilled, how much, what to expect, and what are the possible hazards, the lower the level of anxiety is and the easier it is to provide additional information later.

Sampling for diesel fuel

Diesel fuel is a mixture of hydrocarbons, precise sampling for it is difficult. Nevertheless, photoionization detectors, flame ionization detectors, calorimetric tubes, and other instruments may provide an approximate concentration of diesel vapors in air. Use sampling instrumentation with the limitations and shortcomings of these instruments in mind.